## Slide 1
A
B
C
FIRE EXTINGUISHERS
Ordinary Combustibles
Paper, wood, drapes, and upholstery
Flammable Liquids
Fuel oil, gasoline, paint, grease, solvent and other flammable liquids
Electrical Equipment
Wiring, overheated fuse boxes, conductors, and other electrical sources
Level Three 406.01b
OHP #1

## Slide 2
HOW FIRE EXTINGUISHERS WORK
1. Pull Pull the pin
2. Aim Aim the extinguisher nozzle at the base
3. Squeeze Squeeze or press the handle
4. Sweep Sweep from side to side at the base
P
A
S
S
Level Three 406.01b
OHP #2

## Slide 3
1. Not PANIC!
2. Close all windows and unused doors.
3. Follow the fire escape plan and get out.
4. Move to the muster area and wait for the fire department.
THE PERSON RESPONDING TO THE FIRE MUST:
Level Three 406.01b
OHP #3

## Slide 4
1. Shout “ FIRE, FIRE, FIRE” and pull the alarm.
2. Phone the 911 Emergency Service or local Fire
Department and state the exact location of the
fire.
THE PERSON DISCOVERING A FIRE MUST:
Level Three 406.01b
OHP #4